## CytAssist prep
Important! | Adjust the values below (click for drop down selection) and the spreadsheet will auto-fill |  |  | Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module.
Omni-Stainer Module Type | S12
Number of Samples: | 2
Probe vol (μL) | 200
Wash vol (μL) | 150
Ligation vol (μL) | 130
Deck position 1: | Omni-Stainer S12 module
| 1 | 2 | 3 | 4
A | Sample | Sample
B
C
Deck position 6: | 300 μL Tip rack
Deck position 10 | Trough | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Buffers reservoir (12-trough, sealed with a pierceable sealing sheet) | A | 1: Destaining buffer; 2: Decross-linking buffer; 3: 2X SSC Buffer; 4: 1X PBS; 12: Alcoholic Eosin 10%
Volume (ml) |  | 1: 3.6; 2: 3.6; 3: 5; 4: 4.8; 12: 3.3
Reagent (Strip Tubes) Plate | Deck position 7 | 2: Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module.; 12: Key | Day 1 | Day 2
Reagent | Volume [μL] / Well |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Row Volume (μL)
Pre-hyb mix | 200 | A | Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 1: 200 μL; Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 2: 200 μL | 400
Probe Mix | 200 | B | Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 1: 200 μL; Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 2: 200 μL | 400
FFPE Post-Hyb. Wash Buffer | 300 | C | Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 1: 300 μL; Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 2: 300 μL | 600
FFPE Post-Hyb. Wash Buffer | 150 | D | Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 1: 150 μL; Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 2: 150 μL | 300
Probe Lig. Mix | 130 | E | Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 1: 130 μL; Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 2: 130 μL | 260
Post-Lig. Wash Buffer | 150 | F | Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 1: 150 μL; Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 2: 150 μL | 300
Post-Lig. Wash Buffer | 150 | G | Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 1: 150 μL; Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12 module. 2: 150 μL | 300
H
`

## Protocol Overview Table
SN | Step | Reagent | Reagent premixing | Volume (µL) 6.5 mm | Volume (µL) 11 mm | Volume Parhelia | Processing Temperature (℃) | Time | Repeats | Solution Viscosity
1 | Destaining | 0.1 N HCL | No | 150 | 300 | 300 | RT | 1X-Add and remove | 1 | Not Viscous
2 | Destaining | 0.1 N HCL | No | 100 | 200 | 200 | 42 and then cool to 22 | 15 min. at 42 C | 1 | Not Viscous
3 | Decrosslinking | Decrosslinking buffer | Yes | 150 | 300 | 300 | RT | Add and remove | 1 | Not Viscous
4 | Decrosslinking | Decrosslinking buffer | Premixed in step 2 | 100 | 200 | 200 | 95 -> RT | 60 min. and 10 min. | 1 | Not Viscous
5 | Pre-Hybridization | Pre-Hyb. Mix | Yes | 100 | 200 | 200 | RT | 15 min. | 1 | Not Viscous
6 | Probe Hybridization | Probe-Hyb. Mix | Yes | 100 | 200 | 200 | 50 | Overnight (16-24 h) | 1 | Not Viscous
Pause
7 | Post-Hyb. Wash | FFPE Post-Hyb. Wash Buffer | No | 150 (pre-heated) | 300 (pre-heated) | 450 | 50 | 5 min | 3 | Not Viscous
8 | Post-Hyb. Wash | 2X SSC Buffer | No | 150 | 300 | 300 | RT | 5 min | 1 | Not Viscous
9 | Probe Ligation | Probe Lig. Mix | Yes | 60 | 130 | 130 | 37 -> 4 | 60 min. and Hold at 4C | 1 | Slightly Viscous
10 | Post-Lig. Wash | Post-Lig. Wash Buffer | No | 100 (RT and Pre-heated) | 200 (RT and Pre-heated) | 200 | 57 | 5 min | 2 | Not Viscous
11 | Post-Lig. Wash | 2X SSC Buffer | No | 150 | 300 | 300 | RT | 5 min | 2 | Not Viscous
12 | Staining | Alcoholic Eosin 10% | No | 150 | 300 | 300 | RT | 1 min. | 1 | Not Viscous
13 | Post-Staining- Wash | 1X PBS | No | 1000 | 1000 | 450 | RT | n/a | 3 | Not Viscous