## PhenoCycler (Akoya Names)
Important! Each of the 12 columns corresponds one of the 12 samples in the Omni-stainer S12/C12. Important! Adjust the values below (click for drop down selection) and the spreadsheet will auto-fill | [13 empty] | Last Updated: Dec 12, 2023, Nels Wedin, Parhelia Biosciences
Omni-Stainer module type |  |  | S12 |  | Assemble Flow Cells in PBS or Hydration Buffer
Num samples: |  |  | 5 |  | Antibody Plate Reagent Calculator Available Now Below Reagent Setup
Antibody screening mode |  |  | Yes
Antibody volume [μL] / slide |  |  | 110 |  |  |  | Antibody volume [μL] / sample
wash_volume [μL] / slide |  |  | 150
Deck position: |  | 10 | Buffers reservoir (12-trough, sealed with a pierceable sealing sheet)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | Staining Buffer | Post-Staining Fixing Solution (1.6% PFA in Storage Buffer) | MeOH | 1x PBS |  |  |  | Storage Buffer | X | X | X
Volume (if used)
Wash # | 1 |  | 1 | 2 |  | 2 |  | 2 | 2
Deck position: |  | 7 | Antibody plate (96-well plate, sealed with aluminum sheet). Columns corresponds to samples in the Omni-stainer. Antibody mixes can be the same or different between columns
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Well Volume | Reagent Preparation instructions
А | [13 empty] | PhenoCycler Blocking Buffer: Staining Buffer with N, G, J, & S Blockers - but without antibodies
B | [13 empty] | Antibody Cocktail Solution: Staining Buffer with N, G, J, & S Blockers, WITH PhenoCycler and Custon-Conjugated Antibodies
C | [13 empty] | PCF Fixative Reagent (undiluted): aliquots can be safely stored at room temperature for the duration of the protocol, as long as the plate is sealed with aluminum sheet immediately after filling.
D
E
F
G
H
Deck position 6: |  | 300/200 μL Tip rack #1 |  |  |  | Important! One must use fresh Fixative Reagent aliquots every time
Deck position 9: |  | 300/200 μL Tip rack #2 |  |  |  | In our experience, antibody staining quality can be compromised by using Fixative Reagent aliquots are nearing expiration
If that is happening, we recommend making replacement fixative aliquots by dissolving BS3 in dry DMSO as described in PMID34215862
Deck position 1: | [5 empty] | Solute | BS3 Crosslinker | 50 mg | Thermo Fisher 21580
| 1 | 2 | 3 | 4 |  | Solvent | Dry DMSO | 250 μL | Sigma D2650-5X5ML
A | [5 empty] | Mix thoroughly, dispense into 20ul Aliquots in PCR strips, store at -20C
B
C | [5 empty] | Antibody Plate Reagent Calculator
[6 empty] | Blocking Buffer, Antibody Cocktail, Reporter Stock, Reporter Master Mix (Probe mix) Calculator: input numbers into Input Cells (see format key) | [5 empty] | Format Key
[5 empty] | Format Key | For Staining (Antibody Plate)
[6 empty] | total Antibodies [μL]/sample | 44 |  |  |  |  | Input Cell
[5 empty] | Input Cell | Num samples: |  | <-- LINKED TO Num Samples INPUT |  |  |  | Linked Cell
[5 empty] | Linked Cell | [6 empty] | Calculation
[5 empty] | Calculation | REAGENT | Blocking Buffer (Preblock) [Row A] | Ab Cocktail Solution [Row B] | Manual/sample | Automated/sample | Percentage | SUM
[5 empty] | SUM | Staining Buffer |  |  | 181 |  | 90.5% | Ignore me cell
[5 empty] | Ignore me cell | N Blocker |  |  | 4.75 |  | 2.375% | STATIC cell
[5 empty] | STATIC cell | G Blocker |  |  | 4.75 |  | 2.375%
[6 empty] | J Blocker |  |  | 4.75 |  | 2.375%
[6 empty] | S Blocker |  |  | 4.75 |  | 2.375%
[6 empty] | Total Antibodies | 0 |  | 0 |  | 0%
Total [μL]
For Antibody Screening Mode (also Antibody Plate)
[6 empty] | Component | Input Reporter Stock Solution recipe volumes (ul) | Output Reporter Stock Solution volume needed, exact (ul) | Alt Output Reporter Stock Solution recipe volumes (to make "Desired Volume")
1X PCF Buffer
Assay Reagent
[6 empty] | DAPI (5ul for PCF 1.0, 10ul for PCF 2.0) |  |  |  | Desired Volume
[6 empty] | SUM |  |  |  | 1200
[8 empty] | ^actual needed amount |  | <- conversion factor for simple numbers
[7 empty] | Input Reporter Master Mix (vol ul) | Output Reporter Master Mix (vol ul) [Row D] |  | Master Mix Recipe: Vol [μL]/ Per 120 μL
[6 empty] | Reporter Stock Solution |  |  |  | 112.8
[6 empty] | Reporter 1 | 5 |  |  | 2.4
[6 empty] | Reporter 2 | 5 |  |  | 2.4
[6 empty] | Reporter 3 | 5 |  |  | 2.4
[6 empty] | SUM (check) |  |  |  | 120
[6 empty] | Input Sum Value | 250 | ^LINKED TO Antibody cocktail [μL] / slide INPUT

## CODEX (Nolan Names Key)
Nolan Name - Akoya Name
S1- Hydration buffer
S2-Staining buffer
S3- Storage buffer
AC1 - PCF buffer
Assay component- ssDNA
S blocker-ssDNA
G blocker- blocking oligos
N blocker and J blocker- IgG mouse and rat
BS3 (Reagent F)- Fixative reagent
Preblock- Blocking Buffer
Nolan Name | Akoya Name 1 | Name 2 (Current)
AC1 | PhenoCycler (CODEX 1X) | PCF buffer
Screening Buffer = CODEX Buffer
Former "CODEX buffer" = Current "PCF Buffer"
Former "CODEX buffer" =/= Current "CODEX buffer"
AC1 = Former "CODEX buffer" = Current "PCF Buffer"
Current "CODEX buffer" = 1x PCF Buffer + Assay Reagent
Buffers reservoir | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12
Akoya Names | Pre-Staining Fixation Buffer (1.6% PFA in Hydration Buffer) | Staining Buffer | Post-Staining Fixing Solution (1.6% PFA in Storage Buffer) | MeOH | 1x PBS | 1x PCF Buffer | Screening Buffer (20% DMSO in 1x CODEX Buffer (make fresh)) | Stripping Buffer (80% DMSO in 1x CODEX Buffer (make fresh)) | Storage Buffer
Nolan Names | S1 or PBS + 1.6% PFA | S2 | S3 + 1.6% PFA | MeOH | 1x PBS | AC1 (1x PCFbuffer) | Screening buffer (12mL 1x CODEX buffer mixed with 3mL DMSO) | Striping buffer (3mL 1x CODEX buffer mixed with 12mL DMSO) | S3
The recipes (Black et al., 2021, Nature Protocols) for some key buffers are included below.
CODEX staining buffer 1 (S1) Add 5 ml of 500mM EDTA (pH8.0), 50 ml of 10×DPBS, 2.5g of BSA and 100 mg of NaN3 to 445 ml of ddH2O. Gently mix. Store at 4 °C for ≤1 year.
CODEX staining buffer 2 (S2)
Add 250 ml of S1, 30.5 ml of 1 M Na2HPO4, 19.5ml of1 M NaH2PO4 and 25ml of 5 M NaCl solution to 175 ml of ddH2O. Adjust the pH to 6.8–7.0 with sodium hydroxide. Gently mix. Store at 4 °C for ≤1 year.
H2 buffer
Add 30 ml of 5 M NaCl solution, 10 ml of 1 M Tris (pH 7.5), 0.943 ml of Triton X-100, 2.03 g of MgCl2•6H2O and 0.02% (wt/vol) NaN3 to 960 ml of ddH2O. Store at RT for ≤1 year.
Hybridization buffer
Combine 100 ml of DMSO with 400 ml of H2 buffer. Stir gently to thoroughly combine. Prepare fresh before each experiment.
Stripping buffer
Add 62.5 ml of H2 buffer to 187.5 ml of DMSO. Stir gently to thoroughly combine. Prepare fresh before each experiment.
Plate buffer
Add 83.3 μl of Hoechst 3342 and 2.5 ml of B3 to 50 ml of H2 buffer. Store in the dark at 4 °C for ≤4 weeks.
Blocking reagent 1 (B1)
Dissolve 10 mg of mouse IgG in 10 ml of S2. Store in 0.5-ml aliquots at 4 °C for ≤1 year.
Blocking reagent 2 (B2)
Dissolve 10 mg of rat IgG in 10 ml of S2. Store in 0.5-ml aliquots at 4 °C for ≤1 year.
Blocking reagent 3 (B3)
Sheared salmon sperm DNA This reagent comes at a 10-mg/ml concentration in ddH2O at −20 °C. Store in 0.5-ml aliquots at 4 °C for ≤1 year.
BC4 solution
Prepare a mixture of the 57 nonmodified CODEX DNA oligonucleotides (Supplementary Table 1) by dissolving in TE buffer to a final concentration of 0.5 mM per oligonucleotide. Store in 0.5-ml aliquots at 4 °C for ≤1 year.
CODEX FFPE blocking solution (Preblock, CODEX® Blocking Buffer)
Add 50 μl of B1, 50 μl of B2, 50 μl of B3 and 70 μl of BC4 to 780 μl of S2. Mix gently by pipetting up and down. Store at 4 °C for ≤2 weeks.
BS3 aliquots (Reagent F)
Thoroughly dissolve 50 mg of BS3 in 250 μl of DMSO (ampule). Make 20-μl aliquots in PCR strips, and store −20 °C for ≤6 months.
One must use fresh Reagent F aliquots every time!
In our experience, antibody staining quality can be compromised by using Reagent F aliquots that are nearing expiration.